Electrician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159HY

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Hybrid Based Training Model | 0 | 10K |
| Computing Service Loads Balance the total load per phase using appropriate materials to determine proper load balance Calculate individual circuit load using appropriate materials to determine proper circuit loads Determine how many convenience and appliance outlets should be on each separate circuit using appropriate materials to assure proper balance of load Compute the size of service entrance conductors using appropriate materials to assure adequate conductor size | 4 |  |
| Installing Service Entrance Install main service panel using appropriate tools and equipment to establish a panel location Install circuit breakers in panel using appropriate tools and equipment to provide individual circuit beginning Install main service disconnect using appropriate tools and equipment to disconnect all underground service entrance conductors Ground service entrance equipment using appropriate tools and equipment to provide adequate grounding Install mast-type (through the roof) service entrance using appropriate tools and equipment to provide service access Install service entrance cable to service drop using appropriate tools and equipment to provide conductors Install temporary electrical service using appropriate tools and equipment to provide a source for temporary electrical power Install underground electrical service using appropriate tools and equipment to provide a source for electrical power Install/connect mobile home service, using appropriate tools and equipment to provide electrical power | 9 |  |
| Installing Switch Boxes and Outlet Boxes Install bar-hanger using appropriate tools and equipment to support square or octagon outlet boxes Install flush mount junction box using appropriate tools and equipment to provide for cable or wire splices Install gangable boxes using appropriate tools and equipment to allow mounting of switches and/or receptacles Install octagon outlet box using appropriate tools and equipment to allow for cable splices or switch and receptacle mounting Install surface mount junction box using appropriate tools and equipment to provide space for cable splicing Install outlet boxes for receptacles and switches in existing wall using appropriate tools and equipment to allow for mounting of switches and/or receptacles Install recessed fixture housing in ceiling using appropriate tools and equipment to mount lighting fixture Install flush mount switch and outlet box in a dry wall, lath, plaster, or paneled wall using appropriate tools and equipment to provide for mounting of switches and/or receptacles Install flush mount switch and outlet boxes in a masonry wall using appropriate tools and equipment to provide for mounting of switches and/or receptacles Install underground, watertight, cast iron box using appropriate tools and equipment to provide waterproof space for cable splices | 10 |  |
| Roughing In Feeders, Branch Circuit Cables, and Circuits Rough in armored cable to outlet box using appropriate tools and equipment to provide current switches and/or receptacles Install nonmetallic cable in outlet boxes using appropriate tools and equipment to provide current to switches and/or receptacles Rough in cable or conduit for branch circuits using appropriate tools and equipment to deliver current to outlet or junction boxes Rough in circuit using appropriate tools and equipment for two three-way switches with feed to the switchbox Rough in circuit using appropriate tools and equipment for two three-way switches with feed to the controlled device Rough in circuit using appropriate tools and equipment for two three-way and one four-way switch with feed to a three-way switch Rough in circuit using appropriate tools and equipment for two three-way and one four-way switch with feed to the controlled device Rough in circuit using appropriate tools and equipment for two three-way and two four-way switches with feed to the three-way switch Rough in circuit using appropriate tools and equipment for a single-pole switch with feed to the switch Rough in cables using appropriate tools and equipment for a single-pole switch with feed to the controlled device Rough in a circuit using appropriate tools and equipment for a single-pole switch with feed to the last device on the line Rough in a circuit using appropriate tools and equipment for a split circuit duplex receptacle Rough in two duplex receptacle circuits using appropriate tools and equipment with two three-way switches controlling one-half of each receptacle Rough in 120 or 240 volt circuits to distribution panel using nonmetallic sheathed cable (N.M.C.) using appropriate tools and equipment to provide for connection of circuits to protection devices Rough in cable between an existing box and newly installed box appropriate tools and equipment to provide current to new box Rough in circuit using conduit and 4" square boxes with plaster rings for two three-way switches controlling one device Rough in circuit using appropriate tools and equipment to provide current to a door chime system Rough in a circuit using appropriate tools and equipment to provide current to an intercom system Rough in wiring using appropriate tools and equipment to provide current for a line-voltage thermostat Rough in wiring using appropriate tools and equipment to provide current for a low-voltage thermostat Install conduit underground using appropriate tools and equipment to provide a waterproof wire and/or cable way Rough in direct burial cable using appropriate tools and equipment to provide current to a remote device Splice two or more conductors using crimp-type connector to provide for continuity of a circuit Splice two conductors using a pigtail splice to provide for continuity of a circuit Run feeder cable from main service panel to auxiliary panel using appropriate tools and equipment to feed auxiliary panel | 25 |  |
| Trimming Out (Finishing) Electrical Devices and Appliances Connect/install duplex receptacle outlets using appropriate tools and equipment to provide a usable outlet Connect single pole switch using appropriate tools and equipment to provide current to one or more electrical devices Connect/install single pole switch with pilot light using appropriate tools and equipment to provide current to one or more electrical devices Connect/install three-way switches using appropriate tools and equipment to provide current to one or more electrical devices Connect/install four-way switches using appropriate tools and equipment to provide current to one or more electrical devices Connect split circuit duplex receptacle using appropriate tools and equipment to provide two-circuit control Connect/install three-wire 220 volt receptacle using appropriate tools and equipment to provide current for plug-in devices Connect/install four-wire 220 volt receptacle using appropriate tools and equipment to provide current for plug-in devices Install/connect ground fault interrupting device using appropriate tools and equipment to provide protected circuit in outdoor, kitchen, or bathroom locations Connect recessed fixture box in ceiling using appropriate tools and equipment to be flushed and anchored to provide adequate lighting level Connect wires from junction box to appliance using appropriate tools and equipment to supply current to direct-wired device Connect/install emergency warning system using appropriate tools and equipment to provide for fire and/or security protection Install/connect hot water heater using appropriate tools and equipment to provide proper voltage and amperage to heater. Connect/install humidity control device using appropriate tools and equipment to electrically regulate home/commercial moisture level Connect intercom system using appropriate tools and equipment to provide for intra-structure communications Connect low-voltage lighting control using appropriate tools and equipment to provide for adequate lighting levels Connect moisture resistant receptacle using appropriate tools and equipment to provide safe connection means in wet locations Install/connect photo-electric cell control using appropriate tools and equipment to provide light-sensitive device control Connect/install delayed action or time switch using appropriate tools and equipment to provide device control Connect water pump motor using appropriate tools and equipment to provide adequate water supply Install surface raceway using appropriate tools and equipment to provide circuit path for electrical devices Install/connect automatic garage door operator using appropriate tools and equipment to allow vehicle operated operation Connect de-icing equipment using appropriate tools and equipment provide ice-free surfaces Connect door chime system using appropriate tools and equipment to allow for at least two-point operation Connect/install electric fence charger using appropriate tools and equipment to restrain livestock or predators Connect 120/240 circuits to circuit breaker panel using nonmetallic cable to provide circuit over-current protection | 26 |  |
| Installing Lighting Fixtures Connect/install post lights using appropriate tools and equipment to provide for exterior lighting Install/connect fan controlled by switch using appropriate tools and equipment to allow fan to be switched on and off remotely Connect/install flood lights using appropriate tools and equipment to provide for utilitarian lighting of the exterior. Connect/install lighting dimmer system using appropriate tools and equipment to obtain various lighting levels from one fixture Install/connect heat-a-vent light using appropriate tools and equipment to provide for extra heating and ventilation in bathrooms Connect/install light fixture using appropriate tools and equipment to provide light Install/connect photo-electric control on a light using appropriate tools and equipment to provide unique control of light other than normal switch Install/connect power failure lighting using appropriate tools and equipment to provide for emergency lighting Install/connect moisture resistant fixtures using appropriate tools and equipment to comply with industrial standards Install/connect pilot light using appropriate tools and equipment to show when appliance is on | 10 |  |
| Installing Electrical Environmental Control Components Connect/install baseboard heat unit using appropriate tools and equipment to provide heat Connect ceiling heat cable to thermostat using appropriate tools and equipment to allow heat cable output to be controlled Connect central electric heat using appropriate tools and equipment to provide heat Connect furnace motor using appropriate tools and equipment to comply with industry standards Connect/install gas or oil fired heating unit using appropriate tools and equipment to provide heat Connect line voltage thermostat using appropriate tools and equipment to provide for regulation of heat Connect low voltage thermostat using appropriate tools and equipment to regulate heat output Connect/install wall heater using appropriate tools and equipment to provide for heat. Install ceiling heat cable using appropriate tools and equipment to provide heat. | 9 |  |
| Maintaining Existing Wiring Diagnose/repair fluorescent fixture using appropriate tools and equipment to provide light. Diagnose and repair/replace lights using appropriate tools and equipment to provide light. Repair/replace relays and timers using appropriate tools and equipment to make functional Repair water heater using appropriate tools and equipment to make functional Install and maintain emergency lighting using appropriate tools and equipment to provide light in emergency Repair or replace frayed service cords using appropriate tools and equipment to restore function Replace existing interior load center using appropriate tools and equipment to restore function Replace cable using appropriate tools to restore function Replace circuit breakers using appropriate tools and equipment to restore service Replace existing receptacle or switch using appropriate tools and equipment to restore to function Replace fuses using appropriate tools and equipment to restore function. Replace grounding electrode conductor using appropriate tools and equipment to restore function Replace pilot light bulb using appropriate tools and equipment to restore function Replace service entrance using appropriate tools and equipment to restore function Replace transformer using appropriate tools and equipment to restore function Service electric motors using appropriate tools and equipment to restore function Test for correct voltage using appropriate tools and equipment to determine voltage level Troubleshoot a branch circuit using appropriate tools and equipment to determine a problem | 18 |  |
| Totals | SKILLS 111 | OJT HRS 10K |

Electrician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159HY

| Related Instruction Online | RSI HRS |
| --- | --- |
| DC/AC Electricity and Safety | 80 |
| Basic Wiring I | 64 |
| National Electrical Code | 32 |
| Electrical Drawings | 32 |
| Basic Wiring II | 64 |
| NEC Calculations | 32 |
| Motor and Controls | 64 |
| Industrial Wiring | 64 |
| Electrical Machines I | 48 |
| Human Relations | 32 |
| Basic Welding Processes | 32 |
| First Aid and CPR | 32 |
| Construction Fundamentals | 36 |
| Anti-Harassment Training | 2 |
| Equal Employment Opportunity Training | 2 |
| OSHA Safety Training 10 Hour Construction Safety Course and other OSHA safety topics, such as confined spaces, hazard awareness, fall protection, scaffolding safety, and excavation safety | 60 |
| Driving / Equipment Operation | 22 |
| Electrical Apprentice Field Evaluation Process, Expectations, and Forms | 22 |
| Totals | RSI HRS 720 |