Lineman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Transmission Work Wire-String, Splice, Deadend, Clip in; Guying; Wood Pole Framing and Erection; Other Related Work |  | 500 |
| Substation Work Assembly and Erection; Install Bus and Ground Materials; Connect and Adjust Switches; Other Electrical Equipment |  | 500 |
| Underground (De-energized) UG Conduits and Vaults; UG Primary Conductors; UG Transformers and Switchgear; UG Secondary Conductors and Termination |  | 2.3K |
| Overhead (De-energized) Set Poles; Framing; Conductors and Insulators; Secondary Services, Meters, Street Lights; Transformers, Capacitors, Regulators; Guys and Anchors; Switches and Cutouts; Miscellaneous Safety Meetings/Training |  | 2.3K |
| Hot Work Cut Over to Higher Voltage; Install Taps and Jumpers; Replace Poles; Replace Crossarms; Trouble Shoot; Wire-Stringing, Tie/Untie In; Other Overhead Hot Work; Underground Hot Work; Operate Equipment, i.e. Puller, Tensioner |  | 500 |
| Totals |  | OJT HRS 6K |

Lineman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

| Related Instruction Online | RSI HRS |
| --- | --- |
| Related/Supplemental Instruction The apprentice must attend related/supplemental instruction (RSI). Time spent in RSI shall not be considered as hours of work and the apprentice is not required to be paid. |  |
| Totals | RSI HRS 0 |