Residential Wireman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

1022

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Project Layout & Planning Reading and Interpreting blueprints and specifications Coordination between crafts, general contractor, and homeowner Layout services and branch circuits |  | 200 |
| Underground Installations Trenching and ditch digging Direct burial Installing PVC/Rigid conduit Installing grounding electrode systems |  | 200 |
| Thinwall Conduit Raceway Systems Fastening and supporting devices Conduit fabrication Installation of conduit, fittings, and boxes |  | 200 |
| Rigid Conduit Raceway Systems Fastening and supporting devices Conduit fabrication Installation of conduit, fittings, and boxes |  | 200 |
| Installing Services and Panels Mounting devices Breaker installation Fuse installation Terminations and bonding |  | 500 |
| Installing, Splicing, & Terminating Wires and Cables Installing non-metallic sheath cable Establishing temporary power Feeders and branch circuits Control wiring Splices, taps, and terminations |  | 1.2K |
| Lighting System Installation Installing outlet boxes and conductors Installing fixtures Control devices |  | 400 |
| Testing and Troubleshooting Feeders, Motors, and Branch Circuits Checking circuit continuity Identifying fault current to ground Certifying system operations Repair and maintenance Ground verification |  | 100 |
| Fire Alarm Installation Blueprint and specification interpretation Layout and circuit installation Control panel and device installation Programming and testing |  | 100 |
| Control System Installation Blueprint and specification interpretation Layout and circuit installation Distributed control |  | 150 |
| Security System Installation Blueprint and specification interpretation Layout Box and circuit installation Terminations Testing |  | 100 |
| Installing Communication and Sound Systems Blueprint and specification interpretation Layout Conduit and box installation Installing panels and network Circuit installation Terminations and testing |  | 150 |
| Installing and Terminating Transformers Mounting and installation Primary and secondary terminations Testing and troubleshooting |  | 100 |
| Installing Specialized Systems Basic life safety Custom and low-voltage control Entertainment and Environmental |  | 800 |
| Service and Troubleshooting Testing, analysis, and repair of motors, transformers, electrical devices, electronic devices, magnetic devices, lighting and power circuits, control circuits and devices |  | 100 |
| Material Handling and Pre-Fabrication Material/equipment awareness Fabrication for field installation |  | 100 |
| Safety Awareness and Other Specialized Areas TBD |  | 200 |
| Totals |  | OJT HRS 4.8K |

Residential Wireman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

1022

| Related Instruction Online | RSI HRS |
| --- | --- |
| Blueprint Reading | 160 |
| Circuit Diagram Interpretation | 160 |
| Communication Skills | 160 |
| Conduit Fabrication | 160 |
| Electrical Theory | 160 |
| Industry Orientation | 160 |
| Job Information | 160 |
| Material Identification | 160 |
| Mathematics | 160 |
| National Electrical Code | 160 |
| OSHA/Safety Awareness | 160 |
| Tool Identification | 160 |
| Basic Control Systems | 160 |
| Basic Refrigeration and HVAC | 160 |
| Basic Security Alarm Systems | 160 |
| Branch Circuit Distribution | 160 |
| Circuit Planning | 160 |
| Distribution Systems | 160 |
| Grounding | 160 |
| Low Voltage Transmission Fundamental | 160 |
| Air Conditioning and Refrigeration | 160 |
| Basic Motor Controls | 160 |
| Basic Fiber Optic Principles | 160 |
| Electrical Motor Properties | 160 |
| Electrical Components | 160 |
| Entertainment Systems | 160 |
| Fire Alarm Systems | 160 |
| Lightning Protection Systems | 160 |
| Residential Control Systems | 160 |
| Security Systems | 160 |
| Solar Power Generation | 160 |
| Sound Systems | 160 |
| Systems Analysis, Repair and Certification | 160 |
| Telephony | 160 |
| Video Distribution | 160 |
| Totals | RSI HRS 5.6K |