ELECTRICIAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Assemble, install, test, and maintain electrical or electronic wiring, equipment, appliances, apparatus, and fixtures, using hand tools and power tools Install, maintain, and repair electrical wiring, equipment, and fixtures. Ensure that work is in accordance with relevant codes. May install or service streetlights, intercom systems, or electrical control systems. |  | 1.5K |
| Diagnose malfunctioning systems, apparatus, and components, using test equipment and hand tools, to locate the cause of a breakdown and correct the problem |  | 1K |
| Connect wires to circuit breakers, transformers, or other components |  | 700 |
| Inspect electrical systems, equipment, and components to identify hazards, defects, and the need for adjustment or repair, and to ensure compliance with codes |  | 1K |
| Place conduit, pipes or tubing, inside designated partitions, walls, or other concealed areas, and pull insulated wires or cables through the conduit to complete circuits between boxes |  | 80 |
| Plan layout and installation of electrical wiring, equipment and fixtures, based on job specifications and local codes |  | 720 |
| Install ground leads and connect power cables to equipment, such as motors |  | 200 |
| Repair or replace wiring, equipment, and fixtures, using hand tools and power tools |  | 400 |
| Test electrical systems and continuity of circuits in electrical wiring, equipment, and fixtures, using testing devices such as ohmmeters, voltmeters, and oscilloscopes, to ensure compatibility and safety of system |  | 400 |
| Use a variety of tools and equipment such as power construction equipment, measuring devices, power tools, and testing equipment including oscilloscopes, ammeters, and test lamps |  | 400 |
| Advise management on whether continued operation of equipment could be hazardous |  | 300 |
| Construct and fabricate parts, using hand tools and specifications |  | 300 |
| Perform physically demanding tasks, such as digging trenches to lay conduit and moving and lifting heavy objects |  | 300 |
| Work from ladders, scaffolds, and roofs to install, maintain or repair electrical wiring, equipment, and fixtures |  | 300 |
| Fasten small metal or plastic boxes to walls to house electrical switches or outlets |  | 200 |
| Perform business management duties such as maintaining records and files, preparing reports and ordering supplies and equipment |  | 200 |
| Totals |  | OJT HRS 8K |

ELECTRICIAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Working Safely with Electricity | 10 |
| Basic Industrial Math | 30 |
| Addition and Subtraction | 5 |
| Multiplication and Division | 5 |
| Fractions, Percents, Proportions, and Angles | 5 |
| Metric System | 5 |
| Formulas | 5 |
| Introduction to Algebra | 5 |
| Working with Multimeters | 10 |
| DC Principles | 30 |
| Nature of Electricity | 5 |
| Circuit Analysis and Ohm's Law | 5 |
| Capacitors and Inductors | 5 |
| Magnetism and Electromagnetism | 5 |
| Conductors, Insulators, and Batteries | 5 |
| DC Motors and Generator Theory | 5 |
| AC Principles | 40 |
| Alternating Current | 5 |
| Alternating Current Circuits | 5 |
| Inductors in AC Circuits | 5 |
| Capacitors in AC Circuits | 5 |
| Transformers | 5 |
| Alternators | 5 |
| Electrical Energy Distribution | 5 |
| Rectification and Basic Electronic Devices | 5 |
| National Electrical Code (2020 Text/Course) | 60 |
| MI Rules & Regs, Parts 1 & 2 | 15 |
| Electrical Grounding | 25 |
| Data, Voice and Video Cabling | 20 |
| Electrical Equipment | 60 |
| Conductors and Insulators in Industry | 5 |
| Working with Conduit | 5 |
| Electrical Boxes | 5 |
| Industrial Enclosures and Raceways | 5 |
| Connecting Electrical Equipment, Part 1 | 5 |
| Connecting Electrical Equipment, Part 2 | 5 |
| Industrial Fuses | 5 |
| Industrial Circuit Breakers | 5 |
| Plugs, Receptacles, and Lampholders | 5 |
| Industrial Switches | 5 |
| Industrial Relay Ladder Logic | 5 |
| Industrial Relays, Contractors, and Solenoids | 5 |
| Electrical Wiring Practices | 20 |
| Electrical Equipment, Part 1 | 10 |
| Electrical Equipment, Part 2 | 10 |
| Wiring Electrical Components, Part 1 | 10 |
| Wiring Electrical Components, Part 2 | 10 |
| Troubleshooting Electrical Systems | 10 |
| Conductors | 10 |
| Working With Conduit | 10 |
| Fire Alarm Systems – NFPA 72 | 25 |
| Electrical Blueprint Reading | 10 |
| Reading Electrical Schematic Diagrams | 10 |
| Industrial DC Motors | 10 |
| Industrial AC Motors | 10 |
| Controlling Industrial Motors | 10 |
| Alternating Current Motors | 10 |
| Industrial Motor Applications | 10 |
| Transformers | 10 |
| Industrial Motor Controls, Parts 1 - 3 | 30 |
| Motor Control Fundamentals (for PLC’s) | 10 |
| Industrial Motor Control (for PLC’s), Part 1 | 10 |
| Industrial Motor Control (for PLC’s), Part 2 | 10 |
| Protective Relaying, Parts 1 & 2 | 20 |
| Control Technology for Technicians | 45 |
| Totals | RSI HRS 780 |