PLUMBER (0432HY V1) Hybrid

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Install plumbing or piping. Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. Assemble pipe sections, tubing, or fittings, using couplings, clamps, screws, bolts, cement, plastic solvent, caulking, or soldering, brazing, or welding equipment. Install pipe assemblies, fittings, valves, appliances such as dishwashers or water heaters, or fixtures such as sinks or toilets, using hand or power tools. Anchor steel supports from ceiling joists to hold pipes in place. Install underground storm, sanitary, or water piping systems, extending piping as needed to connect fixtures and plumbing. Install pipe systems to support alternative energy-fueled systems, such as geothermal heating or cooling systems. | 6 | 480 |
| Totals | SKILLS 6 | OJT HRS 480 |

PLUMBER (0432HY V1) Hybrid

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |