Pipefitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| IDENTIFICATION, CARE AND USE OF TOOLS AND EQUIPMENT Identification of tools and equipment Proper and safe use of tools and equipment Proper care and maintenance of tools and equipment Assembly, disassembly and safe usage of scaffolding |  | 400 |
| IDENTIFICATION AND USE OF MATERIALS Identification and usage of piping materials Unloading and handling of materials Proper storage of materials |  | 400 |
| INSTALLING PIPE SUSPENSION SYSTEMS Selecting and locating pipe supports Fabrication and erection of pipe supports Cutting, end preparation and threading of PVC piping Hanging of pipe and supports |  | 400 |
| ASSEMBLING AND INSTALLING PVC PIPING PVC piping materials Measuring and take-outs for PVC piping Cutting, end preparation and threading of PVC piping Assembly and alignment of joints in PVC piping Installing pipe supports and determining spacing for PVC piping |  | 600 |
| ASSEMBLING AND INSTALLING SCREWED PIPING Screwed piping materials Measuring and take-outs of screwed piping Cutting, end preparation and threading of screwed piping Assembly and alignment of joints in screwed piping Installing pipe supports and determining spacing for screwed piping |  | 600 |
| ASSEMBLING AND INSTALLING CLAMPED (VICTAULIC) PIPING Clamped piping materials Measuring and take-outs of clamped piping Cutting, end preparation and grooving of clamped piping Assembly and alignment of joints in clamped piping Installing pipe supports and determining spacing for clamped piping |  | 800 |
| ASSEMBLING AND INSTALLING COPPER TUBING AND COPPER PIPING Copper tubing and copper piping materials Measuring and take-outs of copper tubing and copper piping Cutting and end preparation of copper tubing and copper piping Assembly and alignment of joints in copper tubing and copper piping Installing pipe supports, determining spacing for copper tubing/piping Sweating copper tubing Brazing copper piping |  | 800 |
| ASSEMBLING AND INSTALLING SOCKET WELD PIPING Socket weld piping materials Measuring and take-outs of socket weld piping Cutting and end preparation of socket weld piping Assembly and alignment of joints in socket weld piping Installing pipe supports and determining spacing for socket weld piping |  | 800 |
| ASSEMBLING AND INSTALLING BUTT WELD PIPING Butt weld piping materials Measuring and take-outs of butt weld piping Cutting and end preparation of butt weld piping Assembly and alignment of joints in butt weld piping Installing pipe supports and determining spacing for butt weld piping |  | 800 |
| ASSEMBLING AND INSTALLING FIBERGLASS PIPING Fiberglass piping materials Measuring and take-outs of fiberglass piping Cutting and end preparation of fiberglass piping Assembly and alignment of joints in fiberglass piping Installing pipe supports and determining spacing for fiberglass piping |  | 800 |
| INSTALLING PIPING SYSTEMS Installing hot and cold-water piping Installing air piping Installing gas piping Installing drainage piping Installing steam and condensate piping |  | 800 |
| CLEANING AND TESTING PIPING SYSTEMS Filling, venting, flushing and draining piping systems Hydrostatic testing Pneumatic testing |  | 800 |
| Totals |  | OJT HRS 8K |

Pipefitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Health | 25 |
| Practical Math | 50 |
| Industrial Rigging Principle/Practices | 20 |
| Math, Plumbers & Pipefitters | 100 |
| Blueprint Reading, Plumbers | 100 |
| Piping Systems | 20 |
| Modern Hydronic Systems | 100 |
| Low Pressure Boilers, Study Guide | 48 |
| Math for Welders | 75 |
| Welding Skills | 100 |
| Totals | RSI HRS 640 |