Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

WSATC-1946

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation and repair of high & low pressure piping systems and boilers |  | 100 |
| Installation and repair of hot water piping for comfort heating systems & boilers |  | 200 |
| Installation and repair of commercial process piping |  | 500 |
| Installation and repair of sanitary waste and vent piping |  | 1.8K |
| Installation and repair of plumbing fixtures, code requirements, ADA codes, installation methods |  | 300 |
| Installation and repair of Natural Gas piping |  | 600 |
| Installation and repair of Medical/Dental Gas and Vacuum piping |  | 500 |
| Installation and repair of Fuel Oil piping |  | 200 |
| Excavation, safety, shoring, backfill for plumbing piping |  | 1.5K |
| Installation and repair of water heaters, boilers, solar heaters, appurtenances and appliances |  | 900 |
| Layout of piping and coordination with other trades, Blueprint reading and interpretation |  | 600 |
| Potable and non-potable water pipe layout, sizing, installation, soldering, brazing, welding |  | 1.8K |
| Installation and repair of rainwater drainage piping |  | 500 |
| Installation and repair of backflow prevention devices |  | 500 |
| Totals |  | OJT HRS 10K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

WSATC-1946

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |