Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-5125.02

RAPIDS CODE

0423

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| GENERAL TRADE ORIENTATION Care and use of tools Tests and measuring Types and uses of pipe, fittings, fixtures Equipment Repair records |  | 250 |
| GENERAL PIPE FITTING PRACTICE Bend iron, brass, and copper pipe Cut, ream, thread, burr, drill, and assemble pipe Measure, cut, caulk cast iron pipe Cut soil pipe, seal and caulk joints Break and make joints for flanged piping, renew gaskets Wipe lead joints Care and use of oxygen/acetylene torch Care and use of welding equipment |  | 2K |
| SERVICE INSTALLATION Sketch and read blueprints-layout work Measure, plumb, square, level layout Make bills of material Cut openings Hang and brace pipe Make riggings and supports Install hot and cold water supply lines, valves, strainers, faucets, etc. Rough in drain in ground, suction and discharge lines Lay and connect drainage, soil pipe Install vent systems soil stacks Connect to main supply Connect to sewer Install radiators, heating, and ventilating units Install heating system controls |  | 2K |
| FIXTURE INSTALLATION Sinks and tubs Water closets and urinals Showers and shower controls Drinking fountains Sprinkler systems; hangers, wet and dry pipe, sprinkler heads |  | 1.3K |
| MAINTENANCE AND REPAIR Remove stoppages Stop leaks Repair/renew valves, faucets, connections, sprinkler heads Repair and reseat fixtures Repair and calibrate mechanical meters |  | 2K |
| MISCELLANEOUS Orientation Housekeeping Safety Activity not otherwise listed |  | 500 |
| Totals |  | OJT HRS 8K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-5125.02

RAPIDS CODE

0423

| Related Instruction Online | RSI HRS |
| --- | --- |
| MATHEMATICS | 140 |
| TRADE DRAWINGS AND TECHNICAL DOCUMENTATION | 140 |
| RELATED TRADE COURSES | 310 |
| Totals | RSI HRS 580 |