Residential Wireman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

1022

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Project Layout & Planning Reading and Interpreting blueprints and specifications; Coordination between crafts, general contractor, and homeowner; Layout services and branch circuits. |  | 200 |
| Underground Installations Trenching and ditch digging; Direct burial; Installing PVC/Rigid conduit; Installing grounding electrode systems. |  | 200 |
| Thinwall Conduit Raceway Systems Fastening and supporting devices; Conduit fabrication; Installation of conduit, fittings, and boxes. |  | 200 |
| Rigid Conduit Raceway Systems Fastening and supporting devices; Conduit fabrication; Installation of conduit, fittings, and boxes. |  | 200 |
| Installing Services and Panels Mounting devices; Breaker installation; Fuse installation; Terminations and bonding. |  | 500 |
| Installing, Splicing, & Terminating Wires and Cables Installing non-metallic sheath cable; Establishing temporary power; Feeders and branch circuits; Control wiring; Splices, taps, and terminations. |  | 1.2K |
| Lighting System Installation Installing outlet boxes and conductors; Installing fixtures; Control devices. |  | 400 |
| Testing and Troubleshooting Feeders, Motors, and Branch Circuits Checking circuit continuity; Identifying fault current to ground; Certifying system operations; Repair and maintenance; Ground verification. |  | 100 |
| Fire Alarm Installation Blueprint and specification interpretation; Layout and circuit installation; Control panel and device installation; Programming and testing. |  | 100 |
| Control System Installation Blueprint and specification interpretation; Layout and circuit installation; Distributed control. |  | 150 |
| Security System Installation Blueprint and specification interpretation; Layout; Box and circuit installation; Terminations; Testing. |  | 100 |
| Installing Communication and Sound Systems Blueprint and specification interpretation; Layout; Conduit and box installation; Installing panels and network; Circuit installation; Terminations and testing. |  | 150 |
| Installing and Terminating Transformers Mounting and installation; Primary and secondary terminations; Testing and troubleshooting. |  | 100 |
| Installing Specialized Systems Basic life safety; Custom and low-voltage control; Entertainment and Environmental. |  | 800 |
| Service and Troubleshooting Testing, analysis, and repair of motors, transformers, electrical devices, electronic devices, magnetic devices, lighting and power circuits, control circuits and devices. |  | 100 |
| Material Handling and Pre-Fabrication Material/equipment awareness; Fabrication for field installation. |  | 100 |
| Safety Awareness and Other Specialized Areas TBD |  | 200 |
| Totals |  | OJT HRS 4.8K |

Residential Wireman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

1022

| Related Instruction Online | RSI HRS |
| --- | --- |
| Blueprint Reading | 160 |
| Circuit Diagram Interpretation | 160 |
| Communication Skills | 160 |
| Conduit Fabrication | 160 |
| Electrical Theory | 160 |
| Industry Orientation | 160 |
| Job Information | 160 |
| Material Identification | 160 |
| Mathematics | 160 |
| National Electrical Code | 160 |
| OSHA/Safety Awareness | 160 |
| Tool Identification | 160 |
| Basic Control Systems | 160 |
| Basic Refrigeration and HVAC | 160 |
| Basic Security Alarm Systems | 160 |
| Circuit Planning | 160 |
| Distribution Systems | 160 |
| Grounding | 160 |
| Residential Control Systems | 160 |
| Solar Power Generation | 160 |
| Sound Systems | 160 |
| Totals | RSI HRS 3.4K |