Electric Lineman and Water Mechanic Apprenticeship Program Standards

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

WSATC-1883

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Electric Lineman The apprentice shall receive on-the-job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these standards. Frame and Install Distribution Structures Change out Distribution Structures Frame and Install Transmission Structures Frame and Maintain Distribution (Hot) Frame and Maintain Transmission (Hot) Install and Maintain Conductors Install and Maintain Conductors (Hot) Install and Maintain Underground Install and Maintain Transformers Install and Maintain Apparatus Operate Equipment Switching, Grounding and Clearances (Hot) Install and Maintain Services Safety Education |  | 6K |
| Water Mechanic The apprentice shall receive on-the-job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these standards. Reservoirs Installation and Repair of Water Mains Repair of Asbestos Cement (AC) Pipe and Safe Work Practices Trenching and Shoring Installation and Maintenance of Appurtenances Installation and Testing Water Meters Installation and Maintenance of Water Services Installation and Maintenance of Pumps and Motors Installation and Maintenance of ClaValves Working in Confined Spaces Operate Equipment Welding Arc and Acetylene Project Coordination Safety Education |  | 6K |
| Totals |  | OJT HRS 12K |

Electric Lineman and Water Mechanic Apprenticeship Program Standards

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

WSATC-1883

| Related Instruction Online | RSI HRS |
| --- | --- |
| Supervised field trips |  |
| Sponsor approved training seminars Water Mechanic: WETRC - Washington Environmental Training Center, AWWA - American Water Works Association, Evergreen Rural Water Association |  |
| State Community/Technical college |  |
| Private Technical/Vocational college |  |
| Other Electric Lineman: Avista Line School and Camp Rilea |  |
| Totals | RSI HRS 0 |