Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

6002

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuit |  | 1K |
| Motors and Generators Dismantling and checking physical conditions; Assembly and testing; Repair and maintenance; Internal and external connections to change direction of rotation and speed and for change of supply of voltage; Motor setting, drives, pulley, gears, coupling devices; Related mechanical equipment: Traction units, cranes, winches and hoists. |  | 500 |
| Manual and automatic controls including magnetic and solid state |  | 1K |
| Trouble Shooting Circuit analysis; Use of test equipment; Emergency repairs for temporary maintenance of service. |  | 500 |
| Power Distribution Inside and outside, high and low voltage distribution systems, maintenance and replacement; Transformer connecting, testing and repairing; Switch gear and load centers, maintenance and repair; Wiring, maintenance, repair and adjustment of control panels, instruments and relays. |  | 1K |
| Totals |  | OJT HRS 4K |

Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

6002

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety and accident prevention | 36 |
| Care and use of hand and power tools | 20 |
| Blueprint reading and electrical symbols | 50 |
| Introduction to National Electrical Codes | 140 |
| Electrical fundamentals and basic theory, including A/C and D/C | 52 |
| Electric measuring devices | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators and transformers | 54 |
| Practical circuit sketching | 20 |
| Lighting circuits | 20 |
| Fundamentals of electronics | 30 |
| High voltage distribution and equipment | 20 |
| Totals | RSI HRS 560 |