Manufacturing Plant Electrician/Instrument Repairer Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

MA#1104

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installations of electrical circuits Electrical installations as defined by the Electrical Safety Law (ORS 479.620) Electrical oriented drawings |  | 1.5K |
| Motors and Generators Assembly and testing Repair and maintenance Internal and external connections to change direction of rotation and speed, and for a change of supply of voltage Related mechanical equipment: Traction units, cranes, winches, hoists In-place motor cleaning, 100 hours maximum credit |  | 1K |
| Controls Manual and automatic, including magnetic and solid state (including DC drivers) |  | 1.7K |
| Trouble Shooting Circuit analysis Use of test equipment Emergency repairs for temporary maintenance of service |  | 1K |
| Power Distribution Inside and outside, high and low voltage distribution systems, maintenance and replacement Transformer connecting, testing and repairing Switch gear load centers, maintenance and repair Wiring, maintenance, repair and adjustment of control panels, instruments and relays |  | 1K |
| Lighting |  | 500 |
| Boilers and Furnace control systems |  | 300 |
| Calibration and Process Control Pneumatic Instrumentation Electronic Instrumentation Plant Process Systems Controllers and Recorders |  | 2K |
| The remaining work time necessary to complete the apprenticeship program Shall be applied according to the apprentice's training needs by the apprenticeship committee and the employer |  | 1K |
| Totals |  | OJT HRS 10K |

Manufacturing Plant Electrician/Instrument Repairer Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

MA#1104

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety and accident prevention | 36 |
| Care and use of hand and power tools | 20 |
| Blueprint reading and electrical symbols | 50 |
| Introduction to National Electrical Code | 140 |
| Electrical fundamentals and basic theory, including A/C and D/C | 52 |
| Electric measuring devices | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators and transformers | 54 |
| Practical circuit sketching | 20 |
| Lighting circuits | 20 |
| Fundamentals of electronics | 30 |
| High voltage distribution and equipment | 20 |
| Pneumatic instrumentation, Electronic instrumentation, Plant process systems and Controllers and recorders | 140 |
| Totals | RSI HRS 700 |