Electrician (Interior Electrician)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Preliminary Work |  | 1.6K |
| Rough-In Wiring |  | 1.6K |
| Finish Work |  | 1.6K |
| Trouble Shooting and Service Work |  | 1.6K |
| Motor Installation and Control |  |  |
| Totals |  | OJT HRS 6.4K |

Electrician (Interior Electrician)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| First Year Electrical Apprenticeship hand tools; safety and first aid; technical mathematics; basic electrical theory; National Electrical Code; blueprint reading; electrical wiring methods; branch and feeder circuits; lighting and receptacle outlets; basic concepts of circuit protection; basic concepts of lighting; and conduit bending, knots, and basic rigging. | 580 |
| Second Year Electrical Apprenticeship electrical measuring instruments; AC electricity and circuits; series, parallel circuits, and three-phase circuits; resistive, inductive, capacitive series, and parallel circuits; transformers; generators; motors; alternators; National Electrical Code; industrial and commercial wiring systems; service and feeder calculations; grounding, bonding, and over current protection; and hazardous locations. |  |
| Third Year Electrical Apprenticeship construction drawings, grounding of electrical equipment, motor controls, application and installation of motor control devices, logic and line diagrams, hazardous locations, signs and sign connections, and fiber optics. |  |
| Fourth Year Electrical Apprenticeship electrical safety; solid state, photoelectric, electro-mechanical, proximity, and programmable electronic control devices; AC reduced voltage starters; preventative maintenance and troubleshooting; fire alarms systems and fire protection signaling systems; NEC and safety standards and regulations; services, switchboards, and panelboards; conductors and over current protection devices; lighting protection and grounding; designing and installing wiring systems; troubleshooting circuits, outlets, motors, motor compressors, and transformers; hazardous locations; load calculations; and leadership. |  |
| Totals | RSI HRS 580 |