ELECTRICIAN (Alternate Title: Interior Electrician) (0159V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| 1. PRELIMINARY WORK Learning the names and uses of the equipment used in the trade, such as kind, size, and use of cable, wire, boxes, conduits, and fittings, switches, receptacles, service switches, cutouts, etc.; Learning the names and uses of the various tools used in assembling this material, care of these tools, and other instructions necessary to familiarize the apprentice with the material and tools of the trade. |  | 8K |
| 1. Preliminary Work A. Learning the names and uses of the equipment in the trade, such as kind, size, and use of cable, wire, boxes, conduits, and fittings, writches, receptacles, service switches, cutouts, etc.; B. Learning names and uses of the various tools used in assembling this material, care of these tools, and other instructions necessary to familiarize the apprentice with the material and tools of the trade.; C. Safety and familiarization with safety of handling company vehicle. |  | 600 |
| 2. Residential and Commercial Rough Wiring A. Assisting in getting the material from stockroom.; B. Loading truck and unloading material and equipment on the job.; C. Laying out the various outlets, switches, receptacles, and other details of the job from blueprints or by direction of the Superintendent of construction.; D. Laying out the system with materials to be used, where they are to be placed, and other details as to how they shall be run.; E. Cutting wires, cables, conduit and raceway; threading and reaming conduit, boring and cutting chases under the direction of the journey-person.; F. Installing various kinds of wires, cables and conduits in accordance with requirements.; G. Assisting journeyperson in pulling wires, attaching wires to fish-tape, and keeping wires from kinds of abrasions.; H. Connecting conductors to switches, receptacles, or appliances with proper methods of splicing, soldering and typing.; I. Installing service switches or load center and sub-feeders and fastening up these parts, running raceways and pulling in conductors under the direction of journey-person electricians.; J. Assisting in preparing lists of materials used, including names, number of pieces, or number of feet, etc., for office records.; K. Loading unused material and cleaning up job area. |  | 2.5K |
| 3. Residential and Commercial finish Work A. Connecting and setting witches, receptacles, plates, etc.; B. Installing proper size and types of fuses for each circuit.; C. Installing and connecting various kinds of fixtures.; D. Tracing and polarity of conductors and devices.; E. Testing the circuit for grounds and shorts and locating and correcting job defects.; F. Assisting journey-person in installing and completion of the National Board of Fire; G. Underwriters and special local regulations-proper sizes of wires, services, conduits, etc. |  | 1.5K |
| 4. Industrial Lighting and Service Installation A. Installing rigid conduit, electric metallic tubing BX armored cable Wire molds on all types of heavy electrical equipment and major-size service entrance installation.; B. Wiring all types (gas, oil, stoker, etc.) of heating equipment.; C. Installing wiring and controls for air conditioning. |  | 2K |
| 5. Troubleshooting A. Repairing all kinds of electrical work.; B. Checking out trouble and making repairs under supervision of electrician; C. Checking out trouble and making repairs without supervision. |  | 1K |
| 6. Motor Installation and Control A. Installing over-current devices.; B. Checking for proper installation and rotation.; C. Installing replacement motors.; D. Analyzing motor circuits and trouble-shooting.; E. Installing emergency generators and controls.; F. Installing push buttons, pilot lights, relays, timing devices, and interlocking controls. |  | 400 |
| Totals |  | OJT HRS 16K |

ELECTRICIAN (Alternate Title: Interior Electrician) (0159V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |