PIPE FITTER – SPRINKLER FITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414S-R

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Plan reading and interpretation Reading shop drawings Symbols and abbreviations Familiarization with NFPA 13, NFPA 14, NFPA 20, and NFPA 24 |  | 800 |
| Care of tools, materials, and equipment Identifying materials, grades and types of pipe, fittings, valves, hose and equipment, and fire sprinklers Use and operation of trade tools Maintaining and servicing of tools and equipment Safety meetings |  | 800 |
| Preparation of tools, materials, and equipment Selection of pipe, fittings, hangers, and devices for rough and finish work Loading of required materials and equipment Unloading of materials and equipment at job site using safety Set up and use of rigging, scaffolding and mechanical lifts, and platforms Safety meetings |  | 650 |
| Pipe cutting, threading, reaming, and welding Use of hand cutters Use of dies and reamer Setup and operation of power threading machine Operation of power drills Operation of torch Safety meetings |  | 1.3K |
| Installation of underground piping and accessories Installation of cast iron pipe and fittings Installation of plastic pipe and fittings Installation of valves, post indicators, and hydrants Rodding and thrust block installation Valve pit installation Flushing and testing of underground piping Safety meetings |  | 400 |
| Wet pipe systems Distribution of system Installation of feed mains and cross mains Branch line installation Installation of hangers and system supports Installation of valves including their trim Installation of fire department connections Setup and testing of system Safety meetings |  | 1.6K |
| Dry pipe systems Distribution of system Installation of feed mains and cross mains Branch line installation Installation of hangers and system supports Installation of valves including their trim Installation of fire department connections Setup and testing of system Safety meetings |  | 600 |
| Standpipe systems Distribution of system Pipe installation Installation of hose, hose valve assemblies, nozzles, and accessories System testing Safety meetings |  | 500 |
| Special hazard systems Installation of deluge systems Installation of preaction systems Installation of clean agent systems Installation of carbon dioxide systems Installation of fire extinguishers Installation of nitrogen generators Safety meetings |  | 400 |
| Fire pumps and accessories Setting of fire pumps and jockey pumps Alignment of fire pump and driver Installing trim for fire pump and jockey pump Installing fire pump controllers Start up and testing of fire pumps and equipment Safety meetings |  | 400 |
| Maintenance and repairs Fabrication and installation of pipe on the job site Care in cutting and patching of walls and ceilings Repair and replacement of system components Restoring system(s) to service Notifying owner, fire department, and insurance company of impairment to system Safety meetings |  | 600 |
| Totals |  | OJT HRS 8K |

PIPE FITTER – SPRINKLER FITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414S-R

| Related Instruction Online | RSI HRS |
| --- | --- |
| Basic Safety | 12 |
| Introduction to Construction Math | 10 |
| Introduction to Hand Tools | 10 |
| Introduction to Power Tools | 10 |
| Basic Rigging | 7 |
| Basic Communication Skills | 7 |
| Basic Employability Skills | 7 |
| Introduction to Material Handling | 5 |
| Orientation to the Trade | 5 |
| Introduction to Components & Systems | 7 |
| Steel Pipe | 22 |
| CPVC Pipe and Fittings | 10 |
| Copper Tube Systems | 10 |
| Underground Pipe | 17 |
| Hangers, Supports, Restraints, and Guides | 15 |
| General Purpose Valves | 15 |
| General Trade Math | 20 |
| Shop Drawings | 32 |
| Standard Spray Fire Sprinklers | 20 |
| Wet Fire Sprinkler Systems | 25 |
| Dry Fire Sprinkler Systems | 25 |
| Deluge & Preaction Systems | 40 |
| Standpipe Systems | 25 |
| Water Supplies | 15 |
| Fire Pumps | 40 |
| Application Specific Sprinklers and Nozzles | 27 |
| System Layout | 45 |
| Inspection, Testing, and Maintenance | 17 |
| Special Extinguishing Systems | 42 |
| Introductory Skills for Foreman | 20 |
| Procedures and Documentation | 20 |
| Totals | RSI HRS 580 |