Electrician, Maintenance (0643 V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0643

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Safety Procedures & Orientation: LOTO procedures, safety training. |  | 500 |
| Safety Procedures & Orientation: LOTO procedures, safety training. |  | 500 |
| Assist Journeyman with general facility maintenance. |  | 700 |
| Write material requisitions & stockroom parts pulls. |  | 300 |
| Disassemble, repair, and reassemble production equipment. |  | 1K |
| Install, align, & test electrical components, equipment, or systems. |  | 1K |
| Run, bend, & install conduit. |  | 300 |
| Wire & maintain transformers, switchgear, & panels. |  | 300 |
| Perform wire pulling & circuit terminations. |  | 300 |
| Trace circuits, check for faults, grounds, & polarity. |  | 500 |
| Use digital multimeters & logic software |  | 300 |
| Read blueprints, logic diagrams, & troubleshoot PLC's. |  | 1K |
| Fabricate parts or components. |  | 200 |
| Execute scheduled equipment routines to ensure reliability(preventative maintenance). |  | 1K |
| Inspect & thermally scan high voltage components. |  | 400 |
| Assist in Root Cause Analysis of plant electrical failures. |  | 200 |
| Totals |  | OJT HRS 8K |

Electrician, Maintenance (0643 V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0643

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |