Plumber & Steamfitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

2028CB

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Rigging and Material Handling Using hand signals. Safe unloading of material. Using ladders, scaffolding. Using power lifts, personnel lifts. |  | 200 |
| Tools, Machines and Equipment Care and safe use of hand tools. Care and safe use of power tools. Care and safe use of cutting and burning equipment. Care and safe use of machines. Lock out/tag out procedures. |  | 400 |
| Materials Identification of grades, type and appropriate uses of various piping materials. |  | 100 |
| Planning and Layout Reviewing blueprints, plans and specifications. Selecting type and size pipe, related materials and equipment. Inspecting worksite to determine presence of obstructions and to ascertain that holes cut for pipe will not cause structural weakness. Laying out job. Measuring and marking structure and materials. |  | 400 |
| Pipe Cutting, Threading, Bending Cutting pipe using the following methods: Saws. Cutting pipe using the following methods: Pipe cutter. Cutting pipe using the following methods: Hammer and chisel. Cutting pipe using the following methods: Cutting torch. Cutting pipe using the following methods: Pipe cutting machine. Using pipe threading machine. Using pipe bending tools and pipe bending machine. |  | 500 |
| Pipe Joining and Welding Connecting pipe and fittings by the following methods: Threading. Connecting pipe and fittings by the following methods: Soldering. Connecting pipe and fittings by the following methods: Brazing. Connecting pipe and fittings by the following methods: Fusing. Connecting pipe and fittings by the following methods: Cementing and adhesives. Connecting pipe and fittings by the following methods: Welding for the trade. |  | 900 |
| General Installation and Repair Cutting holes in structure prior to pipe installation. Assembling pipes, tubes, fittings. Securing pipes to structure with hangers, supports, fasteners. Installing valves. Installing hydraulic and pneumatic components such as pumps and cylinders. Connecting equipment, such as radiators. Assembling and connecting fixtures and appliances. Increasing pressure in pipe system and testing for leaks. Maintaining and repairing systems. |  | 1.5K |
| Controls Installing electrical controls. Installing hydraulic controls. Installing pneumatic controls. Maintaining and repairing controls. |  | 600 |
| Hot Water Heating Systems Installing gravity systems forced circulation (1 and 2 pipe systems) forced circulation loop systems. |  | 800 |
| Steam Heat Systems Installing the following type systems: pipe (optional). Installing the following type systems: pipe vapor vacuum. |  | 800 |
| Boiler Installation and Repair Low pressure. High pressure. Installing heating plant. Insulating. Maintaining and repairing. |  | 900 |
| Gas Installations and Repair Natural gas installations. L.P. gas systems. Sizing and venting gas systems. Gas appliances and controls. Medical gas systems. Maintaining and repairing. |  | 900 |
| Oil Installations and Repair Connecting fuel oil tank, pump and equipment in place. Connecting oil pipe line, fittings and valves in place. Maintaining and repairing. |  | 700 |
| Refrigeration and Air-Conditioning Systems Installing refrigeration and air-conditioning systems including: Compressor. Installing refrigeration and air-conditioning systems including: Pumps. Installing refrigeration and air-conditioning systems including: Meters. Installing refrigeration and air-conditioning systems including: Pneumatic and hydraulic controls. Installing refrigeration and air-conditioning systems including: Piping. Maintaining refrigeration and air-conditioning systems. |  | 900 |
| Process and Power Piping |  | 400 |
| Totals |  | OJT HRS 10K |

Plumber & Steamfitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

2028CB

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Accident Prevention |  |
| Mathematics |  |
| Blueprint Reading and Drawing |  |
| Trade Theory and Science |  |
| Industrial and Labor Relations | 20 |
| History and Background | 6 |
| Current Laws and Practices | 14 |
| Other Related Courses as necessary |  |
| Totals | RSI HRS 40 |