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	Work Process Schedule
	
	OJT HRS

	Installation of piping for drain, waste, and vent for Schedule 40 PVC Solid Core

	
	750

	Installation of piping for drain, waste, and vent for C300 Iron Piping both hub and no hub.

	
	750

	Operation, care, and use of all tools and equipment connected with the Trade and systems.

	
	50

	Code, blueprint reading, mathematical measurements and safety requirements

	
	900

	Installation of domestic water lines for hot

	
	750

	Solder work, lead joints, and brazing

	
	300

	Operation, care, and use of all tools and equipment connected with the Trade and systems.

	
	50

	Code, blueprint reading, mathematical measurements and safety requirements

	
	600

	Installation of piping for gas piping systems

	
	1.1K

	Solder work, lead joints, brazing, and mega press fitting

	
	850

	Code, blueprint reading, mathematical measurements and safety requirements

	
	100

	Installation of fixtures appliances used in all plumbing systems

	
	1K

	Maintenance and repair of fixtures and all plumbing systems

	
	500

	Journeyman plumbing test and preparation

	
	500

	Totals
	
	OJT HRS
7.4K
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	Related Instruction Online
	RSI HRS

	Introduction to the Plumbing Profession
	140

	Basic Safety – 10 Hour OSHA – Produces a Certificate- OSHA 10 Card
	

	Plumbing Safety
	

	Introduction to Construction Math
	

	Introduction to Plumbing Math
	

	Introduction to Hand Tools
	

	Introduction to Power Tools
	

	Tools of the Plumbing Trade
	

	Introduction to Construction Drawings
	

	Introduction to Plumbing Drawings
	

	Plastic Pipe and Fittings
	

	Basic Communications
	

	Basic Employability Skills
	

	Material Handling
	

	Copper Pipe and Fittings
	

	Cast-Iron Pipe and Fittings
	

	Steel Pipe and Fittings
	

	Introduction to Plumbing Fixtures
	

	Introduction to Drain, Waste, and Vent (DWV) Systems
	

	Introduction to Water Distribution Systems
	

	Plumbing Math II
	140

	Reading Commercial Drawings
	

	Installing and Testing DWV Piping
	

	Structural Penetrations, Insulation and Fire Stopping
	

	Installing Roof, Floor, and Area Drains
	

	Types of Valves
	

	Installing and Testing Water Supply Piping
	

	Installing Fixtures and Valves
	

	Basic Electricity
	

	Welding
	

	Installing Water Heaters
	

	Fuel Gas Systems and Code
	

	Codes
	

	Blueprints
	

	Applied Math
	140

	Sizing Water Supply Piping
	

	Potable Water Supply Treatment
	

	Types of Venting
	

	Sizing DWV and Storm Systems
	

	Sewage Pumps and Sump Pumps
	

	Corrosive Resistant Waste Pumping
	

	Compressed Air
	

	Blueprints
	

	Business Principles for Plumbers
	140

	Water Pressure Booster and Recirculation Systems
	

	Indirect and Special Waste
	

	Hydronic and Solar Heating Systems
	

	Servicing Piping, Systems, Fixtures, and Appliances
	

	Fundamentals of Crew Leadership
	

	Code Books Review
	

	Reading Blueprints
	

	Private Waste-Disposal Systems
	

	Introduction to Medical Gas and Vacuum Systems
	

	Private Water Supply Well Systems
	

	Totals
	RSI HRS
580




