Roofer

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2181

RAPIDS CODE

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| General 1) Identification of materials 2) Types of roofs 3) Carrying and placing materials for use of journeyperson 4) Erection of hoists 5) Hoisting, loading, and unloading all materials and tools 6) Proper clothing and personal protective (safety) equipment 7) Safe work practices 8) Fall protection |  | 540 |
| Built-up roofing, waterproofing and damp-proofing, composition, tar asphalt, and general work 1) Identification of equipment and materials 2) Regulating the heat of bitumen to roof surfaces; application of bitumen to roof surfaces 3) Preparing surfaces 4) Preparing, cutting, placing, fitting, and trimming strips of felt, other membranes, and insulation boards to surfaces 5) Applying additional layers of material as required 6) Flashing with bitumen or roof cement 7) Applying aggregates or ballast over composition and single-ply membranes 8) Installing liners for reservoirs and hazardous waste receptacles 9) Applying single-ply materials as waterproofing, damp- proofing, burn hazards |  | 1.3K |
| Steep roofing, slate, tile, shingles, and substitute materials 1) Types of materials, including photovoltaic shingles 2) Underlayments 3) Punching nail holes, cutting and trimming slate, types of roofs and identification of hips, ridges, valleys 4) Sealing ridges 5) Flashing 6) Replacing broken or missing slates or shingles 7) Dangers of removing asbestos shingle roofs |  | 360 |
| Single-ply material 1) Systems, including Polyvinyl chloride (PVC) 2) Ethylene propylene monomer (EPDM) systems 3) Chlorinated polyethylene (PE) systems 4) Chlorosulfonated polyethylene (CSPE or HYPALON) systems 5) Neoprene 6) Butyl rubbers 7) Polyisobutylene (PIB) systems 8) Ethylene interpolymers (EIP) systems 9) Modified systems 10) Fastening methods including termination and compression bars, anchors, and mechanically attached or fully adhered systems 11) Ballast, pavers, walkways 12) Caulking, sealant |  | 900 |
| Reroofing 1) Reroofing or recovering of existing buildings 2) Proper job set-up 3) Safe disposal of debris 4) Unique safety requirements |  | 360 |
| Other 1) Butyl rubber (sheet and liquid), neoprene 2) Hypalon 3) Epoxy coatings, acrylic coatings, resin emulsions, plastic coatings and urethane foam 4) Safe work practices 5) Felt, wood, lumber, insulating board pitch, flashing cement, gravel, slag, precast tile blocks, cement mortar, grout, dilute acid solution |  | 180 |
| Safety |  | 360 |
| Totals |  | OJT HRS 4K |

Roofer

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2181

RAPIDS CODE

| Related Instruction Online | RSI HRS |
| --- | --- |
| Beginning of Year Orientation | 1 |
| OSHA 10 | 12 |
| OSHA Fall Protection | 16 |
| OSHA Fall Protection Practicum | 8 |
| First Aid/CPR | 4 |
| Rough Terrain Forklifts | 8 |
| Manlift/Aerial Certification | 4 |
| Shop Production and Organization | 18 |
| Tools of the Trade | 4 |
| Fasteners | 4 |
| Steel and Other Metals | 4 |
| Principles of Layout | 4 |
| Sheet Metal Processes | 8 |
| Fabrication II - Radial Line Development | 30 |
| Fabrication IV - Comprehensive Review | 40 |
| Soldering | 4 |
| Intro to Welding, Brazing & Cutting | 16 |
| Gutters and Downspouts | 4 |
| Roof Flashing | 12 |
| Roof Coatings | 4 |
| Physical Characteristics and Mechanical Properties of Metal | 5 |
| Nails, Fasteners, and Adhesives | 4 |
| Roofing Systems | 15 |
| Roofing Applications | 12 |
| Installation of Cornices, Gutters, and Downspouts | 9 |
| Concrete and Reinforcement Materials | 4 |
| Hand Tools | 4 |
| Power Tools | 4 |
| Rigging I | 10 |
| Rigging II | 10 |
| Trim and Flashing | 4 |
| Roof Panel Types and Systems Design | 24 |
| Installing Standing Seam Roof Systems | 24 |
| Installing Lap Seams Roof Systems | 24 |
| Reroofing | 20 |
| Crew Leadership | 16 |
| CERTA | 8 |
| Roofing 101 | 12 |
| OSHA - Crane Rigging and Signaling | 8 |
| Asbestos Roof Safety - Authorized Person Training | 8 |
| Welding II | 20 |
| Roofing History | 4 |
| TRAC Asphalt Shingle Install Series: Steep-slope Core | 10 |
| TRAC Asphalt Shingle Install Series: Essentials - Installation | 10 |
| TRAC Thermoplastic Roof Membrane Install Series: Essentials: Onboarding Installers | 10 |
| TRAC Thermoplastic Roof Membrane Install Series: Low-Slope Core | 10 |
| TRAC Thermoplastic Roof Membrane Install Series: Installation | 10 |
| Waterproofing | 16 |
| Roofing Applications II | 16 |
| Advanced Roofing Systems | 12 |
| Workplace Communications and Harassment | 4 |
| OSHA - Silica Awareness Training | 4 |
| Welding Safety | 4 |
| Oxyfuel Cutting | 8 |
| Basic Principles of Cranes | 4 |
| Crane Communication | 5 |
| Crane Safety and Emergency Procedures | 4 |
| Introduction to Construction Math | 12 |
| Basic Communication Skills | 4 |
| Basic Employability Skills | 4 |
| Basic Safety | 4 |
| Introduction to Basic Rigging | 4 |
| Introduction to Construction Drawings | 4 |
| Introduction to Hand Tools | 4 |
| Introduction to Material Handling | 4 |
| Introduction to Power Tools | 4 |
| Totals | RSI HRS 630 |