Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Preliminary Work Learning the names and uses of the equipment used in the trade. Basic Safety Basic Math |  | 600 |
| Residential and Commercial Rough Wiring Assisting in getting the material from stockroom. Assisting journeyperson in pulling wires |  | 2.5K |
| Residential and Commercial Finish Work Connecting and setting switches, receptacles, plates, etc. Testing the circuit for grounds and shorts |  | 1.5K |
| Industrial Lighting and Service Installation Installing rigid conduit, electrical metallic tubing, BX. Wiring all types of heating equipment |  | 2K |
| Troubleshooting Repairing all kinds of electrical work. Checking out trouble and making repairs |  | 1K |
| Motor Installation and Control Installing overcurrent devices. Analyzing motor circuits and troubleshooting |  | 400 |
| Totals |  | OJT HRS 8K |

Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Basic Safety | 12 |
| Basic Math | 16 |
| Totals | RSI HRS 28 |