Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152

RAPIDS CODE

2015

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Sewerage: Sanitary and storm piping, Disposal |  | 750 |
| Drainage, Waste and vent piping (DWV) |  | 2.4K |
| Soldering, Brazing, Welding |  | 500 |
| Water: Supply, Services, Mains, Appurtenances |  | 2.2K |
| Fixtures, Appliances, Trims, and Supports |  | 1.4K |
| Gas Piping, Equipment, Appliances |  | 100 |
| Miscellaneous Plumbing, Piping Repair, Maintenance |  | 400 |
| Totals |  | OJT HRS 7.7K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152

RAPIDS CODE

2015

| Related Instruction Online | RSI HRS |
| --- | --- |
| Materials, Tools, and Equipment | 30 |
| Mathematics, Science | 60 |
| Basic First Aid, Safety Regulations: OSHA, State | 16 |
| Overview of Oregon OSHA safety regulations for Construction | 24 |
| Soldering and Brazing | 30 |
| Welding, Gas and Arc – general theory | 9 |
| Blueprint and Drawing Training | 30 |
| Plumbing laws, rules | 30 |
| Plumbing and Related Codes | 140 |
| Water Systems, Installations/treatment | 70 |
| Drainage (DWV) installation/treatment | 60 |
| Related Trades Information | 3 |
| Medical Gas | 20 |
| Service and Repair | 30 |
| Gas Installation and Venting | 20 |
| Totals | RSI HRS 580 |