Limited Maintenance Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

5005

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Motors and generators Assembly and testing, Repair and maintenance, Internal and external connections to change direction of rotation and speed, and for a change of supply of voltage, Motor setting, drives, pulleys, gears, coupling devices, Related mechanical equipment: Traction units, cranes, winches, hoists, In place motor cleaning. |  | 500 |
| Controls Manual and automatic, including magnetic and solid state. |  | 1K |
| Trouble Shooting |  | 1K |
| Power Distribution Inside and outside, high and low voltage distribution systems, maintenance and replacement. |  | 500 |
| Lighting |  | 500 |
| Electrical oriented drawings |  | 100 |
| Remaining time The remaining time necessary to complete the apprenticeship program shall be applied according to the apprentice's training needs by the apprenticeship committee and the employer. |  | 400 |
| Totals |  | OJT HRS 4K |

Limited Maintenance Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

5005

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electricity and electronics | 36 |
| Fundamental mechanical principles | 36 |
| Mathematics of the trade | 18 |
| Instrumentation and controls | 18 |
| Federal, state and local electrical laws, codes and rules | 140 |
| Blueprint reading, electrical drawings and pictorial, block, one-line and schematic diagrams | 36 |
| Industrial electrical safety A certified CPR course of the committee's choice. | 4 |
| Totals | RSI HRS 290 |