PLANT MAINTENANCE- PLUMBER & STEAMFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

2028CB

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Maintaining, repairing, replacing plumbing systems Sewer work House Drainage Venting Cold water supply and distribution Hot water supply and distribution Fixtures |  | 3.2K |
| Maintaining, repairing, replacing hot water heat systems Gravity systems Forced circulation- 1 and 3 pipe systems |  | 800 |
| Maintaining, repairing, replacing steam heat systems 1 pip 2 pip Vapor Vacuum |  | 800 |
| Maintaining, repairing, replacing, connecting lead pipe, block tin pipe, carbonic gas pipe and sheet lead work |  | 400 |
| Welding in connection with the pipe fitting industry |  | 1K |
| Maintaining, repairing, replacing piping, and hanging and fitting units and fixtures for air conditioning, cooling and refrigeration work |  | 400 |
| Maintaining, repairing, replacing, and placing process and power piping, pneumatic tube pipe work |  | 400 |
| Maintaining, repairing, replacing, setting, erecting, and placing pipe for oil burning units, including package units |  | 400 |
| Setting, erecting, and placing piping for use with instrument measurement devices, thermostatic controls, gauge boards, and other controls used in connection with plant work. |  | 400 |
| Troubleshooting, repairing, servicing, dismantling plumbing and piping throughout the plant |  | 1.4K |
| Working on refrigeration and air-conditioning systems Maintaining, servicing, repairing, and setting refrigeration and air-conditioning systems and their components, including compressors, pumps, meters, pneumatic and hydraulic controls, and piping. |  | 800 |
| Totals |  | OJT HRS 10K |

PLANT MAINTENANCE- PLUMBER & STEAMFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

2028CB

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and the Workplace |  |
| Asbestos Awareness minimum 4 hours (see attachment) | 4 |
| Sexual Harassment Preventing Training must comply with Section 201-g of the Labor Law |  |
| First Aid minimum 6.5 hours every 3 years | 6 |
| Trade Theory and Science | 140 |
| Totals | RSI HRS 150 |