Sprinkler Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Entry Basics Company Policies, Vehicles, Tools &amp; Equipment. Introduction to NFPA Standards and Wiring | 2 | 450 |
| Safety Introduction to MSDS &amp; Basic First Aid Principles of Combustion/Standard Symbols Basic First Aid Standard Symbols | 4 | 450 |
| Layout and Identification Sprinkler Layout Simple Designs Identify Properties of Water | 2 | 450 |
| Hazard Identification Hazard Analysis | 1 | 450 |
| Various Detection Identification Detection Methods &amp; Spacing | 1 | 450 |
| Various Extinguishment Systems Fundamentals of Fire Extinguishment Electrical Code Requirements Basic Fire Alarm Systems | 3 | 450 |
| Identify and Understand Various Functions of Sprinkler Systems Standard Spray Pipe Wet Pipe Sprinkler Systems Dry Pipe Sprinkler Systems Deluge System Pre-action Sprinkler Systems | 5 | 460 |
| Mathematical calculations and Interconnected Systems Area, Volume, Weight Calculations Interconnections Between Fire Alarm Systems and Sprinkler Systems Identify and Understand Different Classification of Standpipes Identify and Understand the Water Supplies that Serve Fire Protection Systems | 4 | 450 |
| Fire Pump Systems and Types Identify Fire Pump and Drivers and How they are Installed Identify System Types and Describe Characteristics Explain the Relationship Between Flow Characteristics and Pressure Loss | 3 | 450 |
| Specialized Applications Identify the Characteristics of Application-Specific Sprinklers Identify the Characteristics of Special Sprinklers Identify and Describe the Purpose of Fire Hydrant Water Flow Testing | 3 | 450 |
| Sprinkler System Component Inspection, Testing, & Maintenance Sprinkler Heads Sprinkler/Standpipe Hose/Fire Pumps | 3 | 450 |
| Documentation Describe and Perform the Procedures of Mechanical Checks and Acceptance Checks Documentation and Procedures | 2 | 450 |
| Safety Standards and Guidelines Policies and Procedure Related to Job Site Safety OSHA Standards Understand Career Path Understanding of Sprinkler Systems | 4 | 450 |
| Totals | SKILLS 37 | OJT HRS 5.8K |

Sprinkler Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Related Instruction Online | RSI HRS |
| --- | --- |
| Textbook: National Fire Alarm & Signaling Courses Review Course with Exam | 30 |
| Textbook: National Electrical Code Review Course with Exam | 30 |
| Beginner Fire Alarm Inspector Learning Path FA | 60 |
| Textbook: ITM of Water-Based Fire Protection Systems | 40 |
| Beginner Inspection & Testing of Water-Based Systems Learning Path | 60 |
| Fire Sprinkler Install Manager – Learning Path | 60 |
| Textbook: Standard for the Installation of Standpipe and Hose Systems | 25 |
| Textbook: Standard for the Installation of Stationary Fire Pump for Fire Protection | 25 |
| Introduction to Fire Pumps | 28 |
| Fire Pumps – NFPA 20 | 28 |
| Diesel Fire Pumps – NFPA 20 | 28 |
| Safety Including OSHA Standards and Policies | 40 |
| Totals | RSI HRS 450 |