Residential Wireman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

1022

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Project Layout & Planning Reading and Interpreting blueprints and specifications; Coordination between crafts, general contractor, and homeowner; Layout services and branch circuits. |  | 200 |
| Underground Installations Trenching and ditch digging; Direct burial; Installing PVC/Rigid conduit; Installing grounding electrode systems. |  | 200 |
| Thinwall Conduit Raceway Systems Fastening and supporting devices; Conduit fabrication; Installation of conduit, fittings, and boxes. |  | 200 |
| Rigid Conduit Raceway Systems Fastening and supporting devices; Conduit fabrication; Installation of conduit, fittings, and boxes. |  | 200 |
| Installing Services and Panels Mounting devices; Breaker installation; Fuse installation; Terminations and bonding. |  | 500 |
| Installing, Splicing, & Terminating Wires and Cables Installing non-metallic sheath cable; Establishing temporary power; Feeders and branch circuits; Control wiring; Splices, taps, and terminations. |  | 1.2K |
| Lighting System Installation Installing outlet boxes and conductors; Installing fixtures; Control devices. |  | 400 |
| Testing and Troubleshooting Feeders, Motors, and Branch Circuits Checking circuit continuity; Identifying fault current to ground; Certifying system operations; Repair and maintenance; Ground verification. |  | 100 |
| Fire Alarm Installation Blueprint and specification interpretation; Layout and circuit installation; Control panel and device installation; Programming and testing. |  | 100 |
| Control System Installation Blueprint and specification interpretation; Layout and circuit installation; Distributed control. |  | 150 |
| Security System Installation Blueprint and specification interpretation; Layout; Box and circuit installation; Terminations; Testing. |  | 100 |
| Installing Communication and Sound Systems Blueprint and specification interpretation; Layout; Conduit and box installation; Installing panels and network; Circuit installation; Terminations and testing. |  | 150 |
| Installing and Terminating Transformers Mounting and installation; Primary and secondary terminations; Testing and troubleshooting. |  | 100 |
| Installing Specialized Systems Basic life safety; Custom and low-voltage control; Entertainment and Environmental. |  | 800 |
| Service and Troubleshooting Testing, analysis, and repair of motors, transformers, electrical devices, electronic devices, magnetic devices, lighting and power circuits, control circuits and devices. |  | 100 |
| Material Handling and Pre-Fabrication Material/equipment awareness; Fabrication for field installation. |  | 100 |
| Safety Awareness and Other Specialized Areas TBD |  | 200 |
| Totals |  | OJT HRS 4.8K |

Residential Wireman

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

1022

| Related Instruction Online | RSI HRS |
| --- | --- |
| First Session Blueprint Reading Circuit Diagram Interpretation Communication Skills Conduit Fabrication Electrical Theory Industry Orientation Job Information Material Identification Mathematics National Electrical Code OSHA/Safety Awareness Tool Identification | 160 |
| Second Session Basic Control Systems Basic Refrigeration and HVAC Basic Security Alarm Systems Blueprint Reading Branch Circuit Distribution Circuit Planning Conduit Fabrication Distribution Systems Electrical Theory Grounding Industry Orientation Job Information Low Voltage Transmission Fundamental Mathematics National Electrical Code Remote Control Wiring Transformers | 160 |
| Third Session Air Conditioning and Refrigeration Basic Motor Controls Basic Fiber Optic Principles Blueprint Reading Electrical Motor Properties Electrical Theory Electrical Components Entertainment Systems Fire Alarm Systems Grounding Industry Orientation Job Information Lightning Protection Systems Mathematics National Electrical Code Residential Control Systems Security Systems Solar Power Generation Sound Systems Systems Analysis, Repair and Certification Telephony Video Distribution | 160 |
| Totals | RSI HRS 480 |