Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

2038

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuit Electrical oriented drawings Reading and understanding electrical and instrumentation drawings |  | 1.5K |
| Motors and generators Assembly and testing Cleaning, painting, varnishing, baking Repair and maintenance, to include motor winding, if facilities are available Internal and external connections to change direction of rotation and speed, and for a change of supply of voltage Motor settings, drives, pulleys, gears, coupling devices Related mechanical equipment: traction units, cranes, winches, hoists In place motor cleaning (100 hours maximum credit) |  | 1.1K |
| Controls Manual and automatic, including magnetic and solid state |  | 1.7K |
| Troubleshooting Circuit analysis Use of test equipment Emergency repairs for temporary maintenance of service |  | 1.5K |
| Power Distribution Inside and outside, high and low voltage, distribution systems, maintenance and replacement Transformer connecting, testing and repairing Switch gear and load centers, repair and maintenance Wiring, maintenance, repair and adjustments of control panels, instruments, and relays |  | 1.2K |
| Welders and Welding Soldering, brazing, acetylene welding Electric welding Maintenance and repair of welding equipment |  | 100 |
| Rectifiers Installing, replacing and testing rectifier units Repairing related equipment |  | 100 |
| Meters Testing meters Rebuilding meters Minor repairs, installation, and calibration of meters |  | 100 |
| Batteries Handling, testing, and storing Minor repairs, maintaining terminals and case electrolyte Rebuilding batteries |  | 100 |
| Signal systems Installation, testing, service and overhaul |  | 100 |
| Lighting Maintenance of general indoor and outdoor lighting Maintenance of special lighting Set-up, operation, maintenance, dismantling and storing of temporary and emergency lighting and portable power generators |  | 300 |
| Calibration and Process Control Pneumatic Instrumentation Electronic Instrumentation Plant Process Systems Controllers and Recorders |  | 1.4K |
| Automatic control valves |  | 400 |
| Boilers and Furnace control systems |  | 400 |
| Any remaining time or substitution work time necessary to complete the apprenticeship program |  |  |
| Totals |  | OJT HRS 10K |

Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

2038

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety and accident prevention | 36 |
| Care and use of hand and power tools | 20 |
| Blueprint reading and electrical symbols | 40 |
| Introduction to National Electrical Code | 140 |
| Electrical fundamentals and basic theory, including A/C and D/C | 52 |
| Electric measuring devices | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators and transformers | 44 |
| Practical circuit sketching | 20 |
| Lighting circuits | 20 |
| Fundamentals of electronics | 30 |
| Welding and cutting | 36 |
| High voltage distribution and equipment | 20 |
| A certified CPR (cardiopulmonary resuscitation) course | 8 |
| Instrumentation and control, Pneumatic Instrumentation, Electronic Instrumentation, Process control theory, Instrumentation troubleshooting, Analytical Equipment, Process physics and chemistry | 140 |
| Totals | RSI HRS 720 |