Inside Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Stock Room and Material Handling |  | 300 |
| Residential Wiring |  | 3K |
| Commercial Installations |  | 3K |
| Industrial Installations |  | 3K |
| Specialized Systems |  | 1.5K |
| Underground Construction |  | 300 |
| Trouble Shooting & Maintenance |  | 750 |
| Finishing & Fixture Hanging |  | 150 |
| Totals |  | OJT HRS 12K |

Inside Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety and accident prevention; | 36 |
| Care and use of hand and power tools; | 20 |
| Blueprint reading and electrical symbols; | 50 |
| Introduction to National Electrical Code; | 140 |
| Electrical fundamentals and basic theory, including AC and DC; | 52 |
| Electrical measuring devices; | 10 |
| Wiring methods; | 10 |
| Low voltage and limited energy circuits; | 10 |
| Residential, industrial and commercial calculations; | 60 |
| Motors, generators and transformers; | 54 |
| Practical circuit sketching; | 20 |
| Lighting circuits; | 20 |
| Fundamentals of electronics; | 30 |
| High voltage distribution and equipment. | 20 |
| Note: A current First Aid and CPR Card is required in addition to the 144 hours. |  |
| Totals | RSI HRS 580 |