Limited Journeyman Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

MA#1138

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuits |  | 2K |
| Motors and generators Dismantling and checking physical conditions Assembly and testing Repair and maintenance Internal and external connections to change direction of rotation and speed, and for change of supply of voltage Motor setting, drives, pulley, gears, coupling devices Related mechanical equipment: traction units, cranes, winches, and hoists |  | 1K |
| Manual and automatic controls |  | 2K |
| Trouble shooting Circuit analysis Use of test equipment Emergency repairs for temporary maintenance of service |  | 1K |
| Power distribution Inside and outside, high and low voltage distribution systems, maintenance and replacement Transformer connecting, testing, and repairing Switch gear and load centers, maintenance and repair Wiring, maintenance, repair and adjustment of control panels, instruments and relays |  | 2K |
| Totals |  | OJT HRS 8K |

Limited Journeyman Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

MA#1138

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical Mathematics | 40 |
| Safety and accident prevention | 36 |
| Care and use of hand and power tools | 20 |
| Blueprint reading and electrical symbols (Electrical Schematics and Wiring diagrams) | 50 |
| Introduction to the National Electrical Code | 140 |
| Electrical Fundamentals and basic theory, including AC and DC | 52 |
| Electrical measuring devices. (Care and use of electronic and electrical testing and measuring equipment) | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators, and transformers | 54 |
| Lighting circuits | 20 |
| Fundamental principles of Electronics | 30 |
| Welding and cutting | 36 |
| Power distribution (High voltage distribution and equipment) | 20 |
| PLC fundamentals and programming | 60 |
| Totals | RSI HRS 640 |